## Complete overview
[7 empty] | BOXes |  |  | APPLICATIONs
|  | The overall price is an estimate. Includes only material used. Some parts may need to be purchased in larger amounts. The prices of components listed vary among different vendors. The price of 3D printing material used to calculate the price of the components is 30€/kg. |  |  |  |  | SimpleBOX | CourseBOX | FullBOX | APP_Abbe_Setup | APP_Double-slit_Experiment | APP_INLINE_HOLOGRAM | APP_Incubator_Microscope | APP_Incubator_Microscope_fluorescence | APP_Mach-Zehnder_Interferometer | APP_Michelson_Interferometer | APP_SIMPLE-Projector | APP_SIMPLE-Smartphone_Microscope | APP_SIMPLE-Telescope | APP_SMARTPHONE_MICROSCOPE | APP_Spectrometer
| Link to Github | [5 empty] | https://github.com/bionanoimaging/UC2-GIT/tree/master/TheBOX/SimpleBOX | https://github.com/bionanoimaging/UC2-GIT/tree/master/TheBOX/CourseBOX | https://github.com/bionanoimaging/UC2-GIT/tree/master/TheBOX/FullBOX | https://github.com/bionanoimaging/UC2-GIT/tree/master/APPLICATIONS/APP_Abbe_Setup | https://github.com/bionanoimaging/UC2-GIT/tree/master/APPLICATIONS/APP_Double-slit_Experiment | https://github.com/bionanoimaging/UC2-GIT/tree/master/APPLICATIONS/APP_INLINE_HOLOGRAM | https://github.com/bionanoimaging/UC2-GIT/tree/master/APPLICATIONS/APP_Incubator_Microscope | https://github.com/bionanoimaging/UC2-GIT/tree/master/APPLICATIONS/APP_LIGHTSHEET_Workshop | https://github.com/bionanoimaging/UC2-GIT/tree/master/APPLICATIONS/APP_Mach-Zehnder_Interferometer | https://github.com/bionanoimaging/UC2-GIT/tree/master/APPLICATIONS/APP_Michelson_Interferometer | https://github.com/bionanoimaging/UC2-GIT/tree/master/APPLICATIONS/APP_SIMPLE-Projector | https://github.com/bionanoimaging/UC2-GIT/tree/master/APPLICATIONS/APP_SIMPLE-Smartphone_Microscope/mechanical | https://github.com/bionanoimaging/UC2-GIT/tree/master/APPLICATIONS/APP_SIMPLE-Telescope | https://github.com/bionanoimaging/UC2-GIT/tree/master/APPLICATIONS/APP_SMARTPHONE_MICROSCOPE | https://github.com/bionanoimaging/UC2-GIT/tree/master/APPLICATIONS/APP_Spectrometer
| Link to Image | [5 empty] | https://github.com/bionanoimaging/UC2-GIT/blob/master/TheBOX/IMAGES/SimpleBOX.jpg?raw=true | https://github.com/bionanoimaging/UC2-GIT/blob/master/TheBOX/IMAGES/CourseBOX.jpg?raw=true | https://github.com/bionanoimaging/UC2-GIT/blob/master/TheBOX/IMAGES/FullBOX.jpg?raw=true | https://github.com/bionanoimaging/UC2-GIT/blob/master/APPLICATIONS/APP_Abbe_Setup/IMAGES/Application_Abbe-Experiment_v2.png?raw=true | https://github.com/bionanoimaging/UC2-GIT/blob/master/APPLICATIONS/APP_Double-slit_Experiment/IMAGES/UC2_Setups_13_Double-slit.png?raw=true | https://github.com/bionanoimaging/UC2-GIT/blob/master/APPLICATIONS/APP_INLINE_HOLOGRAM/IMAGES/Application_Inline_Holographic_Microscopy_v2.png?raw=true | https://github.com/bionanoimaging/UC2-GIT/blob/master/APPLICATIONS/APP_Incubator_Microscope/IMAGES/Assembly_UKJ_Microscope_v4_2.png?raw=true | https://github.com/bionanoimaging/UC2-GIT/blob/master/APPLICATIONS/APP_LIGHTSHEET_Workshop/IMAGES/Assembly_simple_Lightsheet_v1.png?raw=true | https://github.com/bionanoimaging/UC2-GIT/blob/master/APPLICATIONS/APP_Mach-Zehnder_Interferometer/IMAGES/UC2_Setups_11_mach-zehnder.png?raw=true | https://github.com/bionanoimaging/UC2-GIT/blob/master/APPLICATIONS/APP_Michelson_Interferometer/IMAGES/Application_Michelson-Interferometer_v2_2.png?raw=true | https://github.com/bionanoimaging/UC2-GIT/blob/master/APPLICATIONS/APP_SIMPLE-Projector/IMAGES/UC2_Setups_12_Projector.png?raw=true | https://github.com/bionanoimaging/UC2-GIT/blob/master/APPLICATIONS/APP_SIMPLE-Smartphone_Microscope/IMAGES/Application_simple_smartphone_microscope_v2.png?raw=true | https://github.com/bionanoimaging/UC2-GIT/blob/master/APPLICATIONS/APP_SIMPLE-Telescope/IMAGES/Assembly_simple_Telescope.png?raw=true | https://github.com/bionanoimaging/UC2-GIT/blob/master/APPLICATIONS/APP_SMARTPHONE_MICROSCOPE/IMAGES/Assembly_smartphone_microscope_2.png?raw=true | https://github.com/bionanoimaging/UC2-GIT/blob/master/APPLICATIONS/APP_Spectrometer/IMAGES/UC2_Setups_10_spectrometer.png?raw=true
| Brief Description | [5 empty] | The SimpleBOX contains only mechanical modules and covers experiment for 7th to 12th grade. | The CourseBOX is a collection of modules optimised for Optical Alignment and Microscopy courses. | The FullBOX is a comprehensive toolbox that includes both the simple and advanced experiments. | The famous Abbe Diffraction Experiment demonstartes the image formation in optical setup. | The basic interference experiment demonstartes the wave property of light. | Inline Holographic microscope creates a hologramm without using any lenses. | Incubator Microscope is using the simplest possible finite-corrected microscope scheme to image living samples in natural conditions. | The Light sheet Microscope demonstartes the principle of sellective plane illumination methods. | Mach-Zehnder Interferometer is a device used for determining the phase change, caused by the sample. | Michelson Interferometer is sensitive to surface variation of the observed sample, compared to a flat mirror. | This SIMPLE experiment shown the image formation done by a single lens. | The SIMPLE Smartphone microscope allows for imaging the sample using a Smartphone, without the need of further electronics. | The SIMPLE Telescope demostartes the principles of the most common refractvive telescopes. | The Smartphone microscope is a classical transmission microscope optimised for the use of a smartphone for imaging. | The Spectrometer uses a grating to disperse the incoming light and allows for imaging of the transmission spectrum of the sample.
# | Module | Part | Printable | Amount | Source | Price per amount | 146.81 | 295.22 | 618.33 | 557.07 | 239.47 | 236.97 | 314.38 | 423.79 | 365.52 | 320.89 | 26.22 | 81.75 | 63.44 | 134.43 | 284.54
1 | ASSEMBLY_Baseplate 4x11 |  |  |  |  | 8.22 | 3 | 4 | 2 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 2 | 0 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_Baseplate_v2 | Baseplate 4x1 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_Baseplate_v2/STL/Assembly_base_4x1.stl | 0.7
| 8.22 | Ballmagnets | 0 | 16 | https://www.magnetmax.de/Neodym-Kugelmagnete/Magnetkugel-Kugelmagnet-O-5-0-mm-Neodym-vernickelt-N40-haelt-400-g::158.html | 0.47
2 | ASSEMBLY_Baseplate 4x2 |  |  |  |  | 16.34 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_Baseplate_v2 | Baseplate 4x2 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_Baseplate_v2/STL/Assembly_base_4x2.stl | 1.3
| 16.34 | Ballmagnets | 0 | 32 | https://www.magnetmax.de/Neodym-Kugelmagnete/Magnetkugel-Kugelmagnet-O-5-0-mm-Neodym-vernickelt-N40-haelt-400-g::158.html | 0.47
3 | ASSEMBLY_Baseplate 4x4 |  |  |  |  | 32.68 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_Baseplate_v2 | Baseplate 4x4 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_Baseplate_v2/STL/Assembly_base_4x4.stl | 2.6
| 32.68 | Ballmagnets | 0 | 64 | https://www.magnetmax.de/Neodym-Kugelmagnete/Magnetkugel-Kugelmagnet-O-5-0-mm-Neodym-vernickelt-N40-haelt-400-g::158.html | 0.47
4 | ASSEMBLY_CUBE_empty_1x1 |  |  |  |  | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Base_v2 | 10_Cube_1x1 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Base_v2/STL/10_Cube_1x1_v2.stl | 0.4
| 2.2 | 10_Lid_1x1 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Base_v2/STL/10_Lid_1x1_v2.stl | 0.2
|  | Screws M3x12 | 0 | 4 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X12/00843%20%2012.sku/de/DE/EUR/ | 0.2
|  | Screws M3x8 (optional) | 0 | 4 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X8/00843%20%208.sku/de/DE/EUR/ | 0.2
5 | ASSEMBLY_CUBE_Beamexpander |  |  |  |  | 12.1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Beamexpander_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 12.1 | 20_Cube_Insert_Beamexpander | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Beamexpander_v2/STL/20_Cube_Insert_Beamexpander.stl | 0.3
| Beamexpander collimates light from a laser into a uniform beam of 20 mm diameter. | 30_Lens_Adapter_Beamexpander | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Beamexpander_v2/STL/30_Lens_Adapter_Beamexpander.stl | 0
|  | iPhone Lens | 0 | 1 | https://www.ebay.com/c/7029261375 | 4.6
|  | Planoconvex Lens f'=26,5mm, 18 mm (551.OAL) | 0 | 1 | https://www.pgi-versand.de/?id=47&mode=artdet&artnr=551.OAL | 5
6 | ASSEMBLY_CUBE_Beamsplitter |  |  |  |  | 29.2 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Beamsplitter_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 29.2 | 20_Cube_Insert_Beamsplitter | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Beamsplitter_v2/STL/20_Cube_Insert_Beamsplitter.stl | 0.3
| The module hold a 50:50 glass beamsplitter. | Beamsplitter Cube (Art. 2137) | 0 | 1 | https://optikbaukasten.de/ | 26.7
7 | ASSEMBLY_CUBE_Eyepiece |  |  |  |  | 16.11 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Eyepiece_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 16.11 | 20_Cube_Insert_Holder-okular | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Eyepiece_v2/STL/20_Cube_Insert_Holder-okular_v2.stl | 0.2
| The eyepiece is aligned to the smartphone holder, which is attached to the cube from outside. Together, they provide optimal conditions for imaging by a smartphone. | 30_Smartphone_Holder | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Eyepiece_v2/STL/30_Smartphone_Holder.stl | 0.6
|  | Eyepiece 20x | 0 | 1 | https://de.aliexpress.com/item/32965050204.html?spm=a2g0o.productlist.0.0.7aa657eeefLUfu&algo_pvid=cd60fca0-3fa5-4191-9ce9-303815e2afa7&algo_expid=cd60fca0-3fa5-4191-9ce9-303815e2afa7-1&btsid=76036b58-6717-4d1f-a4a0-c3d4bacd0450&ws_ab_test=searchweb0_0,searchweb201602_2,searchweb201603_52 | 13.11
8 | ASSEMBLY_CUBE_LED_Matrix |  |  |  |  | 23.69 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 |  | 0 | 0 | 1 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_LED_Matrix_v2 | 10_Lid_1x1 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_LED_Matrix_v2/STL/10_Lid_1x1_el_v2.stl | 0.2
| 23.69 | 30_Cube_LED_Array | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_LED_Matrix_v2/STL/30_Cube_LED_Array_v0.stl | 0.2
| The 8x8 LED matrix serves as a light source for trasmission microscopy. | Screws M3x12 | 0 | 4 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X12/00843%20%2012.sku/de/DE/EUR/ | 0.2
|  | M2 screw + nut | 0 | 2 | https://www.amazon.de/Edelstahl-Sechskopf-Knopf-Schrauben-Unterlegscheiben-Sortiment-Aufbewahrung/dp/B073SS7D8J/ref=sr_1_fkmr0_1?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=zylinderkopfschrauben+set+galvanisiert&qid=1565007371&s=diy&sr=1-1-fkmr0 | 0.1
|  | LED Matrix 8x8 | 0 | 1 | https://www.amazon.de/AZDelivery-Matrix-CJMCU-8-Arduino-Raspberry/dp/B078HYP681/ref=sr_1_2?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=neopixel+matrix&qid=1565008576&s=gateway&sr=8-2 | 9.99
|  | ESP32 | 0 | 1 | https://www.amazon.de/AZDelivery-NodeMCU-Development-Nachfolgermodell-ESP8266/dp/B074RGW2VQ/ref=sr_1_3?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=esp32&qid=1565008313&s=gateway&sr=8-3 | 8
|  | Female-Female Jumper Wire | 0 | 3 | https://www.amazon.de/-/en/AZDelivery-Jumper-Arduino-Raspberry-Breadboard/dp/B07KYHBVR7/ref=pd_bxgy_3/259-4334118-3709357?_encoding=UTF8&pd_rd_i=B07KFMSW7H&pd_rd_r=81afa8b5-0542-49e3-9cba-8dae3b0a116f&pd_rd_w=nOtLQ&pd_rd_wg=YVuQX&pf_rd_p=334c2d1b-2e55-4bd9-b8d2-dcecf26eb7db&pf_rd_r=K64KK4P3QHQTPFHPYNN6&refRID=K64KK4P3QHQTPFHPYNN6&th=1 | 0.5
|  | USB-microUSB cable | 0 | 1 | https://www.amazon.de/dp/B0778FV6K4/ref=sr_1_2?dchild=1&fst=as%3Aoff&qid=1586361990&refinements=p_89%3AGritin&rnid=669059031&s=computers&sr=1-2 | 2.8
9 | ASSEMBLY_CUBE_LED |  |  |  |  | 7.25 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_LED_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 7.25 | 20_Cube_insert_LED_holder | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_LED_v2/STL/ASSEMBLY_CUBE_LED_20_Cube_insert_LED_holder.stl | 0.2
| The blue or ultraviolet LED serves a light source for the In-holography. When the cube is equiped with an extra sample holder, a pinhole can be mounted directly in front of LED. | 20_Cube_insert_Sample_holder (optional) | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_LED_v2/STL/ASSEMBLY_CUBE_LED_20_Cube_insert_Sample_holder.stl | 0.3
|  | 20_Cube_Insert_Sample_clamp (optional) | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_LED_v2/STL/ASSEMBLY_CUBE_LED_20_Cube_Insert_Sample_clamp.stl | 0
|  | Hi-Power LED 1W/3W UV STAR Blue | 0 | 1 | https://www.ebay.de/itm/Hi-Power-LED-1W-3W-UV-STAR-Ultraviolet-/131326525056?var= | 1.85
|  | wire | 0 | 1 | https://www.amazon.de/Donau-Elektronik-GMBH-Original-Kupfer/dp/B01BI1G88C/ref=sr_1_6?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=kabel+set+0%2C14&qid=1565690819&s=gateway&sr=8-6 | 0.1
|  | Resistor | 0 | 1 |  | 0
|  | USB-microUSB cable | 0 | 1 | https://www.amazon.de/dp/B0778FV6K4/ref=sr_1_2?dchild=1&fst=as%3Aoff&qid=1586361990&refinements=p_89%3AGritin&rnid=669059031&s=computers&sr=1-2 | 2.8
|  | Wago binder | 0 | 1 | https://www.amazon.de/Sortiment-2273-202-Verbindungsklemme-praktischem-Sortimentskasten/dp/B06WLLCH5Y/ref=sr_1_18?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=wago+steckklemme&qid=1565690748&s=gateway&sr=8-18 | 0.1
10 | ASSEMBLY_CUBE_Laser |  |  |  |  | 18.4 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Laser_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 18.4 | 20_Cube_Insert_Laser_Mount | 1 | 2 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Laser_v2/STL/20_Cube_Insert_Laser_Mount.stl | 0.3
| The laser serves as a light source. It can be centered using four screws pushing from four sides of the cube. | 00_Laser_Clamp_OnOffSwitch | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Laser_v2/STL/00_Laser_Clamp_OnOffSwitch.stl | 0
|  | Blue laser pointer, 445 nm | 0 | 1 | https://www.laserlands.net/11040037.html | 14.8
|  | Screws M3x18 | 0 | 4 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X18/00843%20%2018.sku/de/DE/EUR/ | 0.2
11 | ASSEMBLY_CUBE_Lens_cylindrical |  |  |  |  | 62.4 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Lens_CYLINDRICAL_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 62.4 | 20_Cube_Insert_Lens_Cylindrical | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Lens_CYLINDRICAL_v2/STL/20_Cube_Insert_Lens_Cylindrical.stl | 0.2
| The cylindrical lens focuses a parallel beam of light into a thin line. | Cylindrical lens, f' = 63 mm (63 YQ 40) | 0 | 1 | https://www.comaroptics.com/components/lenses/cylindrical-lenses/quality-planoconvex-cylindrical-lenses-visibleuv#row-63_yq_40 | 60
12 | ASSEMBLY_CUBE_Lens (+40) |  |  |  |  | 8.5 | 2 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Lens_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 8.5 | 20_Lens_holder | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Lens_v2/STL/1inch_Assembly_Insert_Lens_mount_fixed_20_Lens_holder.stl | 0.3
| This module holds a single lens precisel on the optical axis of other modules. | 20_Lens_holder_clamp | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Lens_v2/STL/1inch_Assembly_Insert_Lens_mount_fixed_20_Lens_holder_clamp.stl | 0
|  | Lens: f'=40mm, 1 inch (Art. 2120) | 0 | 1 | https://optikbaukasten.de/ | 6
13 | ASSEMBLY_CUBE_Lens (+100) |  |  |  |  | 8.5 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Lens_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 8.5 | 20_Lens_holder | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Lens_v2/STL/1inch_Assembly_Insert_Lens_mount_fixed_20_Lens_holder.stl | 0.3
| This module holds a single lens precisel on the optical axis of other modules. | 20_Lens_holder_clamp | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Lens_v2/STL/1inch_Assembly_Insert_Lens_mount_fixed_20_Lens_holder_clamp.stl | 0
|  | Lens: f'=100mm, 1 inch (Art. 2004) | 0 | 1 | https://optikbaukasten.de/ | 6
14 | ASSEMBLY_CUBE_Lens (-50) |  |  |  |  | 21.5 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Lens_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 21.5 | 20_Lens_holder | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Lens_v2/STL | 0.3
| This module holds a single lens precisel on the optical axis of other modules. | 20_Lens_holder_clamp | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Lens_v2/STL | 0
|  | Lens: f'=-50mm, 25 mm (LC1259) | 0 | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=LC1259 | 19
15 | ASSEMBLY_CUBE_Lens (4x) |  |  |  |  | 13.5 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Lens_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 13.5 | 20_Cube_Insert_Objective_Holder | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Lens_v2/STL/20_Cube_Insert_Objective_Holder.stl | 0.3
|  | Microscope Objective 4x | 0 | 1 | https://de.aliexpress.com/item/32947647522.html?spm=a2g0x.search0104.3.54.6cf57a4c3DwsTO&transAbTest=ae803_3&ws_ab_test=searchweb0_0%2Csearchweb201602_6_10065_10130_10068_10890_10547_319_10546_317_10548_10545_10696_10084_453_454_10083_10618_10307_537_536_10902_10059_10884_10887_321_322_10103%2Csearchweb201603_6%2CppcSwitch_0&algo_pvid=06d972be-b176-4446-8665-56d9e61a8d2c&algo_expid=06d972be-b176-4446-8665-56d9e61a8d2c-7 | 11
16 | ASSEMBLY_CUBE_Lens (+50) |  |  |  |  | 23.5 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Lens_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 23.5 | 20_Lens_holder | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Lens_v2/STL/1inch_Assembly_Insert_Lens_mount_fixed_20_Lens_holder.stl | 0.3
| This module holds a single lens precisel on the optical axis of other modules. | 20_Lens_holder_clamp | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Lens_v2/STL/1inch_Assembly_Insert_Lens_mount_fixed_20_Lens_holder_clamp.stl | 0
|  | Lens: f'=50mm, 1 inch (LA1131) | 0 | 1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=LA1131 | 21
17 | ASSEMBLY_CUBE_Mirror_45 |  |  |  |  | 2.5 | 2 | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Mirror_45_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 2.5 | 20_Cube_Insert_Mirror_Holder_30x30Mirror | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Mirror_45_v2/STL/20_Cube_Insert_Mirror_Holder_30x30Mirror_v2.stl | 0.2
| The mirror is mounted diagonally and flips the incomong light by 90°. | 30x30 mm² Mirror | 0 | 1 | https://www.rayher.com/de/spiegelmosaik-selbstklebend-14548606 | 0.1
18 | ASSEMBLY_CUBE_Mirror_Kinematic |  |  |  |  | 4.51 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Mirror_Kinematic_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 4.51 | 20_Cube_Insert_Kinematic_Mirrormount_base | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Mirror_Kinematic_v2/STL/20_Cube_Insert_Kinematic_Mirrormount_base.stl | 0.2
| The three-point kinematic mirror mount allows for careful alignment of the outcoming beam. | Metal plate 30x40 mm², custom cut | 0 | 1 |  | 0
|  | 30x30 mm² Mirror | 0 | 1 | https://www.amazon.de/Rayher-14548606-Spiegelmosaik-selbstklebend-SB-Btl/dp/B008KJ8438/ref=pd_bxgy_201_img_3/258-8761405-4543762?_encoding=UTF8&pd_rd_i=B008KJ8438&pd_rd_r=80fd534c-997b-4a19-b91a-9bf38dbf4ade&pd_rd_w=4DEXV&pd_rd_wg=7SLRE&pf_rd_p=98c98f04-e797-4e4b-a352-48f7266a41af&pf_rd_r=N95R9S45MNSYNQX2BAJE&psc=1&refRID=N95R9S45MNSYNQX2BAJE | 0.1
|  | Screws M3x12 | 0 | 3 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X12/00843%20%2012.sku/de/DE/EUR/ | 0.2
|  | Ballmagnets | 0 | 3 | https://www.magnetmax.de/Neodym-Kugelmagnete/Magnetkugel-Kugelmagnet-O-5-0-mm-Neodym-vernickelt-N40-haelt-400-g::158.html | 0.47
19 | ASSEMBLY_CUBE_Mirror_Kinematic_45 |  |  |  |  | 4.61 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 1
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Mirror_Kinematic_45_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 4.61 | 20_Cube_Insert_Kinematic_Mirrormount_45_base | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Mirror_Kinematic_45_v2/STL/20_Cube_Insert_Kinematic_Mirrormount_45_base.stl | 0.3
| The three-point kinematic mirror mount allows for careful alignment of the outcoming beam. | Metal plate 30x40 mm², custom cut | 0 | 1 |  | 0
|  | 30x30 mm² Mirror | 0 | 1 | https://www.amazon.de/Rayher-14548606-Spiegelmosaik-selbstklebend-SB-Btl/dp/B008KJ8438/ref=pd_bxgy_201_img_3/258-8761405-4543762?_encoding=UTF8&pd_rd_i=B008KJ8438&pd_rd_r=80fd534c-997b-4a19-b91a-9bf38dbf4ade&pd_rd_w=4DEXV&pd_rd_wg=7SLRE&pf_rd_p=98c98f04-e797-4e4b-a352-48f7266a41af&pf_rd_r=N95R9S45MNSYNQX2BAJE&psc=1&refRID=N95R9S45MNSYNQX2BAJE | 0.1
|  | Screws M3x12 | 0 | 3 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X12/00843%20%2012.sku/de/DE/EUR/ | 0.2
|  | Ballmagnets | 0 | 3 | https://www.magnetmax.de/Neodym-Kugelmagnete/Magnetkugel-Kugelmagnet-O-5-0-mm-Neodym-vernickelt-N40-haelt-400-g::158.html | 0.47
20 | ASSEMBLY_CUBE_RaspiCam |  |  |  |  | 33.7 | 0 | 0 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_RaspiCam_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 33.7 | 20_Cube_Insert_RaspiCam | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_RaspiCam_v2/STL/20_Cube_Insert_RaspiCam.stl | 0.3
| The camera module serves for image acquisition. | Raspberry Pi Camera | 0 | 1 | https://www.amazon.de/Raspberry-Pi-v2-1-1080P-Kamera-Modul/dp/B01ER2SMHY/ref=sr_1_4?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&crid=1LUZK9XHFS5CX&keywords=raspberry+pi+camera+v2.1&qid=1565008837&s=gateway&sprefix=raspberry+pi+camera+%2Caps%2C163&sr=8-4 | 27
|  | Raspberry Pi Camera long cable | 0 | 1 | https://www.amazon.de/gp/product/B075JN61S7/ref=ox_sc_act_title_2?smid=A1X7QLRQH87QA3&psc=1 | 4
|  | M2 screw + nut | 0 | 2 | https://www.amazon.de/Edelstahl-Sechskopf-Knopf-Schrauben-Unterlegscheiben-Sortiment-Aufbewahrung/dp/B073SS7D8J/ref=sr_1_fkmr0_1?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=zylinderkopfschrauben+set+galvanisiert&qid=1565007371&s=diy&sr=1-1-fkmr0 | 0.1
21 | ASSEMBLY_CUBE_S-Stage |  |  |  |  | 21.75 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_S-STAGE_v2 | 10_Lid_1x1_v2_thin | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_S-STAGE_v2/STL/10_Lid_1x1_v2_thin.stl | 0.2
| 21.75 | 30_Z_Translator_Lightsheet | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_S-STAGE_v2/STL/30_Z_Translator_Lightsheet_v4.stl | 0.5
| The sample stage allows for precise movement of the sample along one axis. | 30_Coupling_Screw_28BYJ_M3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_S-STAGE_v2/STL/30_Coupling_Screw_28BYJ_M3.stl | 0
|  | Screws M3x12 | 0 | 6 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X12/00843%20%2012.sku/de/DE/EUR/ | 0.2
|  | M3x25 screw with nut (non-magnetic) | 0 | 1 | https://www.amazon.de/Edelstahl-Sechskopf-Knopf-Schrauben-Unterlegscheiben-Sortiment-Aufbewahrung/dp/B073SS7D8J/ref=sr_1_fkmr0_1?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=zylinderkopfschrauben+set+galvanisiert&qid=1565007371&s=diy&sr=1-1-fkmr0 | 0.1
|  | Metal plate 30x40 mm², custom cut | 0 | 1 |  | 0
|  | 30_Syringe_holder | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_S-STAGE_v2/STL/30_Syringe_holder_v2.stl | 0
|  | ESP32 | 0 | 1 | https://www.amazon.de/AZDelivery-NodeMCU-Development-Nachfolgermodell-ESP8266/dp/B074RGW2VQ/ref=sr_1_3?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=esp32&qid=1565008313&s=gateway&sr=8-3 | 8
|  | 28-BYJ stepper motor with driver board | 0 | 1 | https://www.reichelt.de/entwicklerboards-schrittmotor-inkl-steuerung-uln2003-debo-moto1-p192146.html | 5.35
|  | Female-Female Jumper Wire | 0 | 6 | https://www.amazon.de/-/en/AZDelivery-Jumper-Arduino-Raspberry-Breadboard/dp/B07KYHBVR7/ref=pd_bxgy_3/259-4334118-3709357?_encoding=UTF8&pd_rd_i=B07KFMSW7H&pd_rd_r=81afa8b5-0542-49e3-9cba-8dae3b0a116f&pd_rd_w=nOtLQ&pd_rd_wg=YVuQX&pf_rd_p=334c2d1b-2e55-4bd9-b8d2-dcecf26eb7db&pf_rd_r=K64KK4P3QHQTPFHPYNN6&refRID=K64KK4P3QHQTPFHPYNN6&th=1 | 0.6
|  | USB-microUSB cable | 0 | 1 | https://www.amazon.de/dp/B0778FV6K4/ref=sr_1_2?dchild=1&fst=as%3Aoff&qid=1586361990&refinements=p_89%3AGritin&rnid=669059031&s=computers&sr=1-2 | 2.8
22 | ASSEMBLY_CUBE_Sample_Holder |  |  |  |  | 2.5 | 0 | 5 | 1 | 1 | 1 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 2
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Sample_Holder_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 2.5 | 20_Cube_insert_Sample_holder | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Sample_Holder_v2/STL/20_Cube_insert_Sample_holder.stl | 0.3
| The sample holder is optimal for microscope slides or other thin objects. | 20_Cube_Insert_Sample_clamp | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Sample_Holder_v2/STL/20_Cube_Insert_Sample_clamp.stl | 0
23 | ASSEMBLY_CUBE_Sample_Comb |  |  |  |  | 1.4 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Sample_Holder_v2 | 10_Lid_1x1 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Base_v2/STL/10_Lid_1x1_v2.stl | 0.2
| 1.4 | 20_Cube_Sampleholder | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Sample_Holder_v2/STL/20_Cube_Sampleholder.stl | 0.4
| The comb shaped sample holder can hold object of various sizes. | Screws M3x12 | 0 | 4 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X12/00843%20%2012.sku/de/DE/EUR/ | 0.2
24 | ASSEMBLY_CUBE_Z-stage |  |  |  |  | 50.35 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Z-STAGE_v2 | 10_Cube_2x1 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_v2/STL/10_Cube_2x1_v2.stl | 0.5
| 50.35 | 10_Lid_el_2x1 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_v2/STL/10_Lid_el_2x1_v2.stl | 0.3
| The linearflexure mechanism of the Z-stage is used for precise focussing of the microscope objective. Motors used. | 20_focus_inlet_linearflexure | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_v2/STL/20_focus_inlet_linearflexure_v0.stl | 0.6
|  | 30_Coupling_Screw_28BYJ_M3 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_v2/STL/30_Coupling_Screw_28BYJ_M3.stl | 0
|  | 30_focus_inlet_objective_mount | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_v2/STL/30_focus_inlet_objective_mount_v7.stl | 0.1
|  | 30_Z_Stage_Adapterplate | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_v2/STL/30_Z_Stage_Adapterplate.stl | 0.3
|  | 30_Z_Stage_Fluomodule | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_v2/STL/30_Z_Stage_Fluomodule.stl | 0.2
|  | 40_XY_Stage_Clamp_Slide | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_v2/STL/40_XY_Stage_Clamp_Slide.stl | 0.1
|  | Microscope Objective 10x | 0 | 1 | https://de.aliexpress.com/item/32947647522.html?spm=a2g0x.search0104.3.54.6cf57a4c3DwsTO&transAbTest=ae803_3&ws_ab_test=searchweb0_0%2Csearchweb201602_6_10065_10130_10068_10890_10547_319_10546_317_10548_10545_10696_10084_453_454_10083_10618_10307_537_536_10902_10059_10884_10887_321_322_10103%2Csearchweb201603_6%2CppcSwitch_0&algo_pvid=06d972be-b176-4446-8665-56d9e61a8d2c&algo_expid=06d972be-b176-4446-8665-56d9e61a8d2c-7 | 15.4
|  | Screws M3x12 | 0 | 20 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X12/00843%20%2012.sku/de/DE/EUR/ | 0.6
|  | Screws M3x8 | 0 | 3 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X8/00843%20%208.sku/de/DE/EUR/ | 0.2
|  | M3x30 screw with nut (non-magnetic) | 0 | 1 | https://www.amazon.de/Edelstahl-Sechskopf-Knopf-Schrauben-Unterlegscheiben-Sortiment-Aufbewahrung/dp/B073SS7D8J/ref=sr_1_fkmr0_1?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=zylinderkopfschrauben+set+galvanisiert&qid=1565007371&s=diy&sr=1-1-fkmr0 | 0.1
|  | Screws M3x18 | 0 | 2 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X18/00843%20%2018.sku/de/DE/EUR/ | 0.2
|  | ESP32 | 0 | 1 | https://www.amazon.de/AZDelivery-NodeMCU-Development-Nachfolgermodell-ESP8266/dp/B074RGW2VQ/ref=sr_1_3?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=esp32&qid=1565008313&s=gateway&sr=8-3 | 8
|  | 28-BYJ stepper motor with driver board | 0 | 1 | https://www.reichelt.de/entwicklerboards-schrittmotor-inkl-steuerung-uln2003-debo-moto1-p192146.html | 5.35
|  | Female-Female Jumper Wire | 0 | 6 | https://www.amazon.de/-/en/AZDelivery-Jumper-Arduino-Raspberry-Breadboard/dp/B07KYHBVR7/ref=pd_bxgy_3/259-4334118-3709357?_encoding=UTF8&pd_rd_i=B07KFMSW7H&pd_rd_r=81afa8b5-0542-49e3-9cba-8dae3b0a116f&pd_rd_w=nOtLQ&pd_rd_wg=YVuQX&pf_rd_p=334c2d1b-2e55-4bd9-b8d2-dcecf26eb7db&pf_rd_r=K64KK4P3QHQTPFHPYNN6&refRID=K64KK4P3QHQTPFHPYNN6&th=1 | 0.6
|  | USB-microUSB cable | 0 | 1 | https://www.amazon.de/dp/B0778FV6K4/ref=sr_1_2?dchild=1&fst=as%3Aoff&qid=1586361990&refinements=p_89%3AGritin&rnid=669059031&s=computers&sr=1-2 | 2.8
25 | ASSEMBLY_CUBE_Z-stage_mechanical |  |  |  |  | 30.7 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Z-STAGE_mechanical_v2 | 10_Cube_2x1 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_mechanical_v2/STL/Assembly_Z-Focus_Linearbearing_mechanical_v0_10_Cube_2x1_v2.stl | 0.5
| 30.7 | 10_Lid_el_2x1 | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_mechanical_v2/STL/Assembly_Z-Focus_Linearbearing_mechanical_v0_10_Lid_el_2x1_v2.stl | 0.3
| The linearflexure mechanism of the Z-stage is used for precise focussing of the microscope objective. Mechanical only. | 20_focus_inlet_linearflexure | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_mechanical_v2/STL/Assembly_Z-Focus_Linearbearing_mechanical_v0_20_focus_inlet_linearflexure_v0.stl | 0.6
|  | 30_focus_inlet_objective_mount | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_mechanical_v2/STL/Assembly_Z-Focus_Linearbearing_mechanical_v0_30_focus_inlet_objective_mount_v7.stl | 0.1
|  | 20_focus_inlet_plate_bottom | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_mechanical_v2/STL/Assembly_Z-Focus_Linearbearing_mechanical_v0_20_focus_inlet_plate_bottom.stl | 0.2
|  | 20_focus_inlet_plate_top | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_mechanical_v2/STL/Assembly_Z-Focus_Linearbearing_mechanical_v0_20_focus_inlet_plate_top.stl | 0.1
|  | 00_large_gear | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_mechanical_v2/STL/Assembly_Z-Focus_Linearbearing_mechanical_v0_00_large_gear.stl | 0.1
|  | 30_Z_Stage_Sampleplate | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Z-STAGE_mechanical_v2/STL/Assembly_Z-Focus_Linearbearing_mechanical_v0_30_Z_Stage_Sampleplate.stl | 0.3
|  | Microscope Objective 10x | 0 | 1 | https://de.aliexpress.com/item/32947647522.html?spm=a2g0x.search0104.3.54.6cf57a4c3DwsTO&transAbTest=ae803_3&ws_ab_test=searchweb0_0%2Csearchweb201602_6_10065_10130_10068_10890_10547_319_10546_317_10548_10545_10696_10084_453_454_10083_10618_10307_537_536_10902_10059_10884_10887_321_322_10103%2Csearchweb201603_6%2CppcSwitch_0&algo_pvid=06d972be-b176-4446-8665-56d9e61a8d2c&algo_expid=06d972be-b176-4446-8665-56d9e61a8d2c-7 | 15.4
|  | Screws M3x12 | 0 | 20 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X12/00843%20%2012.sku/de/DE/EUR/ | 0.6
|  | Screws M3x8 | 0 | 3 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X8/00843%20%208.sku/de/DE/EUR/ | 0.2
|  | M3x30 screw with nut (non-magnetic) | 0 | 1 | https://www.amazon.de/Edelstahl-Sechskopf-Knopf-Schrauben-Unterlegscheiben-Sortiment-Aufbewahrung/dp/B073SS7D8J/ref=sr_1_fkmr0_1?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=zylinderkopfschrauben+set+galvanisiert&qid=1565007371&s=diy&sr=1-1-fkmr0 | 0.1
|  | Screws M3x18 | 0 | 2 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X18/00843%20%2018.sku/de/DE/EUR/ | 0.2
26 | ASSEMBLY_CUBE_Circular_Aperture |  |  |  |  | 2.6 | 0 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| https://github.com/bionanoimaging/UC2-GIT/tree/master/CAD/ASSEMBLY_CUBE_Aperture_Circular_v2 | ASSEMBLY_CUBE_empty_1x1 |  | 1 | A14;E18 | 2.2
| 2.6 | 20_Cube_Insert_CirAp_Guide | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Aperture_Circular_v2/STL/20_Cube_Insert_CirAp_Guide.stl | 0.4
| Circular aperture symmetrically block the diameter of the light beam. The diameter of the opening is changed from outside of the cube. | 20_Cube_Insert_CirAp_Wheel | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Aperture_Circular_v2/STL/20_Cube_Insert_CirAp_Wheel.stl | 0
|  | 20_Cube_Insert_CirAp_Leaf | 1 | 7 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Aperture_Circular_v2/STL/20_Cube_Insert_CirAp_Leaf1.stl | 0
|  | 20_Cube_Insert_CirAp_Lid | 1 | 1 | https://github.com/bionanoimaging/UC2-GIT/blob/master/CAD/ASSEMBLY_CUBE_Aperture_Circular_v2/STL/20_Cube_Insert_CirAp_Lid.stl | 0
27 | Raspberry Pi + accesories |  |  |  |  | 187.8 | 0 | 0 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1
|  | Raspberry Pi 4 B |  | 1 | https://www.reichelt.de/raspberry-pi-4-b-4x-1-5-ghz-2-gb-ram-wlan-bt-rasp-pi-4-b-2gb-p259919.html?PROVID=2788&gclid=Cj0KCQjwv8nqBRDGARIsAHfR9wDfSTnmSNyUOfEQFSt3AH1NsNxiCz0buRYcON7xUyqIMCWoCNkDb1AaAl7kEALw_wcB&&r=1 | 40 |  |  |  | To lower the price, use only one Raspi and move the camera between the two arms.
| 187.8 | Raspberry Pi 7" Display |  | 1 | https://www.reichelt.de/raspberry-pi-shield-display-lcd-touch-7-800x480-pixel-raspberry-pi-7td-p159859.html? | 64.5
|  | Raspberry Pi Case |  | 1 | https://www.reichelt.de/gehaeuse-fuer-raspberry-pi-4-7-touch-display-rpi4-case-lcd7bk-p268976.html?&trstct=pol_57 | 22.3
|  | Raspi 4 Power supply |  | 1 | https://www.reichelt.de/raspberry-pi-netzteil-5-1-v-3-0-a-usb-type-c-eu-stecker-s-rpi-ps-15w-bk-eu-p260010.html?&trstct=lsbght_sldr::259919 | 9.5
|  | SanDisk Ultra microSD card |  | 1 | https://www.amazon.de/SanDisk-SDSQUAR-064G-GN6MA-microSDXC-Speicherkarte-Adapter/dp/B073JYVKNX/ref=sr_1_2?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=sd+card+64+gb&qid=1565691023&s=computers&sr=1-2 | 11
|  | Keyboard |  | 1 | https://www.reichelt.de/funk-tastatur-usb-schwarz-touchpad-logitech-k400-p162726.html?&trstct=pos_0 | 27
|  | USB hub |  | 1 | https://www.amazon.de/Sabrent-USB-HUB-einzelnen-Schalter/dp/B00JX1ZS5O/ref=sr_1_15?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=usb+hub+power&qid=1573648723&sr=8-15 | 13.5
28 | OTHER
| Flashlight |  |  | 1 | https://www.pollin.de/p/led-taschenlampe-alu-5-w-cree-led-864151 | 7 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
| Box |  |  | 1 | https://www.online-werkzeughandel.de/diverses/4/kunststoffkoffer-grau-b-395xh-295xt-106mm-m-schaumstoffeinlage-pp_12089_8276 | 13.1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Smartphone (with UC2 App installed) |  |  | 1 | https://github.com/bionanoimaging/UC2-Software-GIT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
| Aluminium foil - pinhole |  |  | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Aluminium foil - slit, double slit |  |  | 1 |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Assemblies
UC2 Setup Lists
How to read this:
Here we collect the number of modules modules (90°) necessary to build a certain APPlication. We try to put as many Applications in a ready-to-use-box for different experiments which share the same modules.
"Special" is a module which can not be "reused" (e.g. a base cube with a certain insert). It carries a special function (e.g. focussing mechanism)
"Cube" is the basecube (1x1) which can be filled with a dedicated insert (i)
"External" is an external part like a Laser or LED which is adapted to the cube © by an insert (i)
"Insert" is a part which adapts any external part to the cube
|  | S- Special | [5 empty] | 1 | 1 |  |  |  | 1 |  |  |  |  | 1
|  | C- Cube |  |  | 1 | 1 | 1 |  |  | 1 | 1 | 1 |  |  | 1 |  |  |  | 1
|  | E- External |  |  | 1 | 1 | 1 |  |  | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 |  | 1
|  | i - Insert |  |  | 1 | 1 | 1 |  |  | 1 | 1 | 1 |  |  |  |  | 1 |  | 1
|  |  | Module | Baseplate | Laser ASSEMBLY_CUBE_Laser | Lens ASSEMBLY_CUBE_Lens | Mirror (45°) ASSEMBLY_CUBE_Mirror_45 | Z-Objective ASSEMBLY_CUBE_Z-Objective | Z-Sample ASSEMBLY_CUBE_Z-Sample | Raspicamera ASSEMBLY_CUBE_Raspicam | Beam-Expander ASSEMBLY_CUBE_Beam-Expander | LED ASSEMBLY_CUBE_LED | LED-Array ASSEMBLY_CUBE_LED-Array | Fluorescence Module CUBE_INSERT_Fluomodule | Ocular CUBE_INSERT_Ocular | Sampleholder (Fixed, for Z-stage) CUBE_INSERT_Sampleholder | Beamsplitter ASSEMBLY_CUBE_Beamsplitter | Sample/Mask Mount (comb-like) ASSEMBLY_CUBE_Maskholder | Kinematic Mirror Mount ASSEMBLY_CUBE_Kinematic | Grating Mount (diagonal) ASSEMBLY_CUBE_Gratingholder | Comment
APPlication
| 1 | Light-Sheet Microscope (IDOL) |  | 4x4 | 1 | 2 | 1 | 1 | 1 | 1 | 1
| 2 | Telescope |  | 1x4 |  | 2
| 3 | Smartphone Microscope (finite) |  | 2x4, 1x4 |  |  | 2 | 1 |  |  |  | 0 | 1 | 1 | 1 | 1
| 4 | Incubator Microscope (finite) |  | 2x4 |  |  | 1 | 1 |  | 1 |  |  | 1 | 1 |  | 1
| 5 | Inline Holographic Microscope |  | 1x4 | [5 empty] | 1 |  | 1 | [8 empty] | Foile/Pinhole in front of LED
| 6 | Polarisation Experiment |  | 1x4 |  | 2
| 7 | Abbe Experiment |  | 4x4,2x4,1x4 |  | 4 |  |  |  | 1 |  | 1 |  |  |  | 1 | 1 |  |  |  | Need an aperture+Fouriermask
| 8 | Spectrometer |  | 2x4 |  | 1 | [5 empty] | 1 | [5 empty] | 1 |  | 1 | Entrance Slit
| 9 | Michelson Interferometer |  | 4x4 | 1 | [5 empty] | 1 | [7 empty] | 2
| 10 | Tomographic Microscope
[5 empty] | 1 | 4 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1

## Modules
printed/available/bought # | [30 empty] | 45 | [8 empty] | ordered | WORKSHOÜ |  | Trash | [9 empty] | ordered | ordered
Who orders/prints: | [27 empty] | We | We | We | We | We | We | bd | We | We | We | We | IPHT | We | IPHT | We | We | IPHT | IPHT | IPHT | IPHT | IPHT | We | We | We | We | We | We
Price (estimated) |  | 4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20 | 7 | 10 | 0.5 | 24.9 | 2 | 1.55 | 3 | 9.99 | 7.66 | 5.43 | 1.5 | 13 | 1 | 3.5 | 1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.056 | 26.7 | 16 | 12
[28 empty] | Amazon | Amazon | Amazon | Amazon | Amazon | Amazon | Ebay | ??? | Amazon | Amazon | Ebay | Ebay | Aliexpress | IPHT | Amazon | IPHT | Würth | Würth | Würth | Würth | Würth
EXT URL (Where to buy) | [27 empty] | https://www.laserlands.net/11040037.html | https://www.amazon.de/BisLinks%C2%AE-Facing-Kamera-Ersatz-Repair/dp/B01M9K9RVN/ref=sr_1_10?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=lg+g3+camera&qid=1565005739&s=gateway&sr=8-10 | Have a look below | https://www.amazon.de/Rayher-14548606-Spiegelmosaik-selbstklebend-SB-Btl/dp/B008KJ8438/ref=pd_bxgy_201_img_3/258-8761405-4543762?_encoding=UTF8&pd_rd_i=B008KJ8438&pd_rd_r=80fd534c-997b-4a19-b91a-9bf38dbf4ade&pd_rd_w=4DEXV&pd_rd_wg=7SLRE&pf_rd_p=98c98f04-e797-4e4b-a352-48f7266a41af&pf_rd_r=N95R9S45MNSYNQX2BAJE&psc=1&refRID=N95R9S45MNSYNQX2BAJE | https://www.amazon.de/Raspberry-Pi-v2-1-1080P-Kamera-Modul/dp/B01ER2SMHY/ref=sr_1_4?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&crid=1LUZK9XHFS5CX&keywords=raspberry+pi+camera+v2.1&qid=1565008837&s=gateway&sprefix=raspberry+pi+camera+%2Caps%2C163&sr=8-4 | https://www.amazon.de/gp/product/B075JN61S7/ref=ox_sc_act_title_2?smid=A1X7QLRQH87QA3&psc=1 | https://www.ebay.de/itm/Hi-Power-LED-1W-3W-UV-STAR-Ultraviolet-/131326525056?var= | ??? | https://www.amazon.de/AZDelivery-Matrix-CJMCU-8-Arduino-Raspberry/dp/B078HYP681/ref=sr_1_2?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=neopixel+matrix&qid=1565008576&s=gateway&sr=8-2 | https://www.amazon.de/AZDelivery-NodeMCU-Development-Nachfolgermodell-ESP8266/dp/B074RGW2VQ/ref=sr_1_3?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=esp32&qid=1565008313&s=gateway&sr=8-3 | https://www.ebay.de/i/162736953138?chn=ps&norover=1&mkevt=1&mkrid=707-134425-41852-0&mkcid=2&itemid=162736953138&targetid=528583141141&device=c&mktype=pla&googleloc=9042960&poi=&campaignid=1669295905&mkgroupid=63847510759&rlsatarget=pla-528583141141&abcId=1139676&merchantid=138405830&gclid=CjwKCAjwnMTqBRAzEiwAEF3ndp6IaQlxOoSLDsWtzuWXZr-Lv3IWHD-7WBUbbMnrQ8UvaPlJHiPENBoCGG8QAvD_BwE | https://www.ebay.de/itm/BD809-Transistor-npn-80V-10A-90W-TO220/360661360188?hash=item53f9179e3c:g:ssEAAOSw-fNaqt1l | https://de.aliexpress.com/item/32965050204.html?spm=a2g0o.productlist.0.0.7aa657eeefLUfu&algo_pvid=cd60fca0-3fa5-4191-9ce9-303815e2afa7&algo_expid=cd60fca0-3fa5-4191-9ce9-303815e2afa7-1&btsid=76036b58-6717-4d1f-a4a0-c3d4bacd0450&ws_ab_test=searchweb0_0,searchweb201602_2,searchweb201603_52 | https://www.amazon.de/Anpro-Entwicklerboard-Atmega328P-Arduino-EINWEG/dp/B07H2VT2JN/ref=sr_1_1_sspa?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=arduino+nano&qid=1565008279&s=gateway&sr=8-1-spons&psc=1 | https://www.amazon.de/Elegoo-Stepper-Schrittmotor-28BYJ-48-Treiberplatine/dp/B01MEGIHLF/ref=sr_1_1_sspa?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=stepper+arduino&qid=1565008205&s=gateway&sr=8-1-spons&psc=1 | https://www.amazon.de/Verbatim-43480-12x-CD-RW-10-Pack-Spindel/dp/B0002Y321S/ref=sr_1_2_sspa?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=cd+rohling&qid=1565008136&s=gateway&sr=8-2-spons&psc=1 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X8/00843%20%208.sku/de/DE/EUR/ | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X12/00843%20%2012.sku/de/DE/EUR/ | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X18/00843%20%2018.sku/de/DE/EUR/ | https://eshop.wuerth.de/Gewindestift-Innensechskant-und-Kegelstumpf-STI-STMPF-ISO4026-45H-IS15-A2K-M3X25/025503%2025.sku/WuerthGroup-Wuerth.cgid/de/DE/EUR/?VisibleSearchTerm=STI-STMPF-ISO4026-45H-IS1%2C5-%28A2K%29-M3X25&CampaignName=SR001 | https://eshop.wuerth.de/Gewindestift-Innensechskant-und-Kegelstumpf-STI-STMPF-ISO4026-45H-IS15-A2K-M3X5/025503%205.sku/de/DE/EUR/&SelectedFilterAttribut=%255B%257B%2522name%2522%253A%2522ATThreadTypeXNominalDiameter%2522%252C%2522value%2522%253A%255B%2522M3%2522%255D%252C%2522title%2522%253A%2522Gewindeart%2520x%2520Nenndurchmesser%2522%257D%252C%257B%2522name%2522%253A%2522ATLength%2522%252C%2522value%2522%253A%255B%25225%2520mm%2522%255D%252C%2522title%2522%253A%2522L%25C3%25A4nge%2522%257D%252C%257B%2522name%2522%253A%2522ATMaterialType%2522%252C%2522value%2522%253A%255B%2522Stahl%2522%255D%252C%2522title%2522%253A%2522Werkstoff%2522%257D%255D | https://www.amazon.de/Edelstahl-Sechskopf-Knopf-Schrauben-Unterlegscheiben-Sortiment-Aufbewahrung/dp/B073SS7D8J/ref=sr_1_fkmr0_1?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=zylinderkopfschrauben+set+galvanisiert&qid=1565007371&s=diy&sr=1-1-fkmr0 | https://www.amazon.de/Edelstahl-Sechskopf-Knopf-Schrauben-Unterlegscheiben-Sortiment-Aufbewahrung/dp/B073SS7D8J/ref=sr_1_fkmr0_1?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=zylinderkopfschrauben+set+galvanisiert&qid=1565007371&s=diy&sr=1-1-fkmr0 | https://www.ebay.de/itm/216-Neodym-Kugelmagnete-D5mm-D7mm-D10mm-GOLD-SILVER-BLACK-NICKEL-NdFeB/372719170845?hash=item56c7cb351d:m:mj8zDp5AN1PxzUDiyJu1Rsg | https://optikbaukasten.de/ | https://de.aliexpress.com/item/4X-10X-20X-40X-60X-100X195-Augenmikroskops-System-Bio-Mikroskop-Biologische-Mikroskop-Lab-Labor-Achromatische-Objektiv/32947647522.html?spm=a2g0x.search0104.3.54.6cf57a4c3DwsTO&transAbTest=ae803_3&ws_ab_test=searchweb0_0%2Csearchweb201602_6_10065_10130_10068_10890_10547_319_10546_317_10548_10545_10696_10084_453_454_10083_10618_10307_537_536_10902_10059_10884_10887_321_322_10103%2Csearchweb201603_6%2CppcSwitch_0&algo_pvid=06d972be-b176-4446-8665-56d9e61a8d2c&algo_expid=06d972be-b176-4446-8665-56d9e61a8d2c-7 | https://de.aliexpress.com/item/4X-10X-20X-40X-60X-100X195-Augenmikroskops-System-Bio-Mikroskop-Biologische-Mikroskop-Lab-Labor-Achromatische-Objektiv/32947647522.html?spm=a2g0x.search0104.3.54.6cf57a4c3DwsTO&transAbTest=ae803_3&ws_ab_test=searchweb0_0%2Csearchweb201602_6_10065_10130_10068_10890_10547_319_10546_317_10548_10545_10696_10084_453_454_10083_10618_10307_537_536_10902_10059_10884_10887_321_322_10103%2Csearchweb201603_6%2CppcSwitch_0&algo_pvid=06d972be-b176-4446-8665-56d9e61a8d2c&algo_expid=06d972be-b176-4446-8665-56d9e61a8d2c-7
Comments: |  | 4x4,2x4,2x4 | [25 empty] | 450nm, pen-like | LG G3 Lens | 1inch preferably, focal lenght varies (25mm, 50mm, 100mm, 100mm, Cylindrical 50mm) | Rayher - 14548606 - Spiegelmosaik, selbstklebend., 3x3cm, SB-Btl 45Stü | Raspberry Pi Noir Kamera-Modul V2 | Ersatz Flexkabel 100 cm für Raspberry Pi Kamera -> 20Stk | Hi-Power LED 1W/3W UV STAR Ultraviolet | Rosco Lux #12 (?) | Neopixel 8x8 | AZDelivery ⭐⭐⭐⭐⭐ 3 x ESP32 NodeMCU Module WLAN WiFi Development Board mit CP2102 (Nachfolgermodell zum ESP8266) und gratis eBook! | Wemos MINI D1 ESP32 ESP-32S WIFI + Bluetooth CP2104 ESP8266 Module For Arduino | BD809 Transistor npn 80V 10A 90W TO220 | 20x, diameter? | Workshop | Elegoo 5er Stepper Motor Schrittmotor 5V 28BYJ-48 ULN2003 und 5 Stück Treiberplatine ULN2003 für Arduino | Piece of a CD | M3x8, DIN912 | M3x12, DIN912 | M3x18, DIN912 | GEWINDESTIFT INNENSECHSKANT UND KEGELSTUMPF ISO 4026 Stahl 45H verzinkt | GEWINDESTIFT INNENSECHSKANT UND KEGELSTUMPF ISO 4026 Stahl 45H verzinkt | Set | Set | 100 Neodym-Kugelmagnete 5 mm | Strahlteiler-Würfel, 20x20x20mm | Mikroskop Objektiv 10x, 0.3NA | Mikroskop Objektiv 4x, 0.1NA
State: |  | v2 | v2 | v2 | v2 | v2 | v2 | v2 | v2 | v1 | v1 | v1 | v1 | v1 | v1 | v1 | v1 | v1 | v1
Number of pieces to print/order: |  | 4 | 12 | 17 | 1 | 1 | 1 | 0 | 0 | 1 | 4 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 2 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 5 | 4 | 1 | 1 | 5 | 1 | 1 | 4 | 1 | 1 | 1 | 1 | 2 | 1 | 18 | 130 | 4 | 2 | 208 | 2 | 6 | 12 | 1 | 1 | 1
SUM MONEY: |  | 16 | 12 | 17 | 1 | 1 | 1 | 0 | 0 | 1 | 4 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 2 | 1 | 1 | 1 | 1 | 0 | 0 | 16 | 6.5 | 50 | 2 | 24.9 | 2 | 7.75 | 3 | 9.99 | 30.64 | 5.43 | 1.5 | 13 | 1 | 7 | 1 | 0.18 | 1.3 | 0.04 | 0.02 | 2.08 | 0.02 | 0.06 | 0.672 | 26.7 | 16 | 12 | 310.782
Ordered (Jan, Os, XX)
CUBES | # | CUBE_BASE | CUBE_BODY (1x1) | CUBE_LID (1x1) | CUBE_LID_thin (1x1) | CUBE_BODY (2x1) | CUBE_LID (2x1) | CUBE_BODY (3x1) | CUBE_LID (3x1) | CUBE_INSERT_LASER | CUBE_INSERT_LENS | CUBE_INSERT_MIRROR_45 | CUBE_INSERT_Z-Stage_Spiral | CUBE_INSERT_S-Stage | CUBE_INSERT_Raspicam | CUBE_INSERT_Beamexpander | CUBE_INSERT_LED | CUBE_INSERT_Beamsplitter | CUBE_INSERT_Maskholder | CUBE_INSERT_Gratingholder | EXT_PART_M4_28BYJ_48_Flange | EXT_PART_LED_Matrix_Adapter | EXT_PART_Fluomodule | EXT_Sampleholder_1 | EXT_Sampleholder_2 | EXT_Lightsheets_Sampleholder | EXT_Ocularadapter | EXT_LASER | EXT_Lens_iphone | EXT_LENS (any shape) | EXT_MIRROR | EXT_Raspicam | EXT_Raspicam_Cable | EXT_LED | EXT_Fluofilter | EXT_LED_Matrix | EXT_ESP32 | EXT_32_Mini | EXT_PNP_BC906 | EXT_Ocular | EXT_Metallplate_20x20 | EXT_28BYJ-48+Controller | EXT_Grating | EXT_ISO_912_M3x8 | EXT_ISO_912_M3x12 | EXT_ISO_912_M3x18 | EXT_ISO_4026_M3x20 | EXT_ISO_4026_M3x5 | EXT_ISO912_M4x25+Nut | EXT_M2x25+NUT | EXT_Ballmagnets_5mm | EXT_Beamsplitter_20mm | EXT_Microscopic_Objective_10x | EXT_Microscopic_Objective_4x
Baseplate | 0 |  | 0
ASSEMBLY_CUBE_Laser | 1 |  | 1 | 1 | [5 empty] | 1 | [17 empty] | 1 | [15 empty] | 2 | 8 |  |  | 16
ASSEMBLY_CUBE_Lens | 4 |  | 1 | 1 | [6 empty] | 1 | [18 empty] | 1 | [13 empty] | 2 | 8 |  |  | 16
ASSEMBLY_CUBE_Mirror_45 | 2 |  | 1 | 1 | [7 empty] | 1 | [18 empty] | 1 | [12 empty] | 2 | 8 |  |  | 16
ASSEMBLY_CUBE_Z-Objective | 1 |  | 0 |  |  | 1 | 1 | [5 empty] | 1 | [7 empty] | 1 | [15 empty] | 1 | 1 |  |  |  | 1 |  | 2 | 10 |  | 2 | 16 | 1 |  |  |  | 1 | 1
ASSEMBLY_CUBE_Z-Sample | 1 |  | 0 |  | 1 | [8 empty] | 1 | [6 empty] | 1 | [15 empty] | 1 |  |  |  | 1 | 1 |  | 2 | 4 |  |  |  | 1
ASSEMBLY_CUBE_Raspicam | 1 |  | 1 | 1 | [10 empty] | 1 | [16 empty] | 1 | 1 | [10 empty] | 2 | 8 |  |  | 16 |  | 2
ASSEMBLY_CUBE_Beam-Expander | 1 |  | 1 | 1 | [11 empty] | 1 | [12 empty] | 1 | 1 | [13 empty] | 2 | 8 |  |  | 16
ASSEMBLY_CUBE_LED | 1 |  | 1 | 1 | [12 empty] | 1 | [16 empty] | 1 |  |  | 1 | [6 empty] | 2 | 8 |  |  | 16 |  | 2
ASSEMBLY_CUBE_LED-Array | 1 |  | 0 | 1 | [17 empty] | 1 | [13 empty] | 1 | 1 | [6 empty] | 2 | 4 |  |  |  |  | 2
CUBE_INSERT_Fluomodule | 1 |  | 0 | [19 empty] | 1 | [10 empty] | 4 | 1 |  |  |  | 1 | [6 empty] | 4
CUBE_INSERT_Ocular | 1 |  | 0 | 1 | [35 empty] | 1 |  |  |  |  | 4 | [5 empty] | 4
ASSEMBLY_Sample_Holder | 1 |  | 0
ASSEMBLY_CUBE_Beamsplitter | 1 |  | 1 | 1 | [13 empty] | 1 | [26 empty] | 8 |  |  | 16 |  |  |  | 1
ASSEMBLY_CUBE_Maskholder | 1 |  | 0 | 1 | [40 empty] | 4
ASSEMBLY_CUBE_Kinematic | 2 |  | 0 | 1 | [14 empty] | 1 | [25 empty] | 4 | [5 empty] | 4
ASSEMBLY_CUBE_Gratingholder | 1 |  | 1 | 1 | [15 empty] | 1 |  |  |  | 1 | 1 | [5 empty] | 2 | [11 empty] | 1 |  | 8 |  |  | 16
SUM: | 21
LENSES | Unitprice | # | Sum | Source | Shop | Ordered | Who?
Bikonvex Linse 50/12,7 | 4.89 | 2 | 9.78 | https://optikbaukasten.de/ | Optikbaukasten
Bikonvex Lens 100mm/25,4 | 4.89 | 2 | 9.78 | https://optikbaukasten.de/ | Optikbaukasten
Cylinderlens, 63mm, Comar 63 YQ 40 B270 crown | 55 | 1 | 55 | https://www.comaroptics.com/components/lenses/cylindrical-lenses/quality-planoconvex-cylindrical-lenses-visibleuv | Comar
Plankonvex Linse 26/12,7 | 4.89 | 1 | 4.89 | https://optikbaukasten.de/ | Optikbaukasten
Biconcave Lens -65 | 1.6 | 1 | 1.6 | https://www.pgi-versand.de/?id=47&mode=artdet&artnr=302.OML | Astromedia |  | https://www.comaroptics.com/components/lenses/concave-lenses/quality-concave-lenses | Comar (50 NQ 25, 18,26 GBP)
Biconcave Lens -45 | 1.6 | 1 | 1.6 | https://www.pgi-versand.de/?id=47&mode=artdet&artnr=302.OML | Astromedia
Tools |  |  | 0
IXO Screwdriver | 39 | 1 | 39 | https://www.amazon.de/Bosch-Akkuschrauber-Generation-Bits-Ladeger%C3%A4t/dp/B00TTZU566/ref=asc_df_B00TTZU566/?tag=googshopde-21&linkCode=df0&hvadid=255989693737&hvpos=1o1&hvnetw=g&hvrand=6350862034522652344&hvpone=&hvptwo=&hvqmt=&hvdev=c&hvdvcmdl=&hvlocint=&hvlocphy=9042960&hvtargid=pla-421346020200&psc=1&th=1&psc=1 | Amazon
Hex Keys | 10 | 1 | 10 | https://www.amazon.de/Bosch-Bit-32tlg-Schraub-Montagearbeiten/dp/B00403M7OU/ref=sr_1_3?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=bit+set+ixo&qid=1565689754&s=diy&sr=1-3 | Amazon
drilling set + gewindeschneider | 11 | 1 | 11 | https://www.amazon.de/Hakkin-Werkzeughalter-Gewindeschneid-Schraubenschl%C3%BCsselhalter-M3-M6-Gewindebohrer/dp/B07Q2LPSVZ/ref=sr_1_1_sspa?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=gewindeschneider&qid=1565689829&s=diy&sr=1-1-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUFYVlI4QjcyODBVTlImZW5jcnlwdGVkSWQ9QTA5OTAxNTMxVTZJQ1lOMzZIOVM0JmVuY3J5cHRlZEFkSWQ9QTA3NDQ2MzAxOFJMOEVMTUFTMTdUJndpZGdldE5hbWU9c3BfYXRmJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ== | Amazon
Philips Screwdriver (Slit, Cross) | 15 | 1 | 15 | https://www.amazon.de/TOOLZILLA-TOOLZILLA%C2%AE-10-teiliges-Schraubendreher-Set/dp/B077XXSW25/ref=sr_1_12_sspa?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=schraubendreher+set&qid=1565934287&s=diy&sr=1-12-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUFTN1c2UlBHU0dPQzgmZW5jcnlwdGVkSWQ9QTA5MzEwNDQzQkFPSTc0N05HMVhPJmVuY3J5cHRlZEFkSWQ9QTAwOTc5MDgzODU4RE9IQ0xFVkROJndpZGdldE5hbWU9c3BfbXRmJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ== | Amazon
0
External stuff: |  |  | 0
Schrumpfschlauch | 11 | 1 | 11 | https://www.amazon.de/Schrumpfschlauch-Ueznirn-320-tlg-Schrumpfverh%C3%A4ltnis-Schrumpfschl%C3%A4uche/dp/B07N7CMK4Y/ref=sr_1_1_sspa?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=schrumpfschlauch+set&qid=1565689933&s=diy&sr=1-1-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUExVUxYNjc4NksySFBWJmVuY3J5cHRlZElkPUEwNDM2NTc1Mk5EWVJaSlFWV0VFMiZlbmNyeXB0ZWRBZElkPUEwMTkwNDEzMVIyTENOM09CRVhEMSZ3aWRnZXROYW1lPXNwX2F0ZiZhY3Rpb249Y2xpY2tSZWRpcmVjdCZkb05vdExvZ0NsaWNrPXRydWU= | Amazon
Kabel+Jumpers | 5.99 | 1 | 5.99 | https://www.amazon.de/ZOORE-120pcs-Multicolored-Female-Breadboard/dp/B07P85V1G3/ref=sr_1_5?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=jumper+male&qid=1565690543&s=industrial&sr=1-5 | Amazon
Blutek | 2 | 1 | 2 | https://www.amazon.de/Tesa-Tack-Klebeknete-formbar-Pads/dp/B01N75L50W/ref=sr_1_1?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=poster+knetmasse&qid=1565690574&s=ce-de&sr=8-1 | Amazon
Wago Verbinder | 15 | 1 | 15 | https://www.amazon.de/Sortiment-2273-202-Verbindungsklemme-praktischem-Sortimentskasten/dp/B06WLLCH5Y/ref=sr_1_18?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=wago+steckklemme&qid=1565690748&s=gateway&sr=8-18 | Amazon
Wires | 12 | 1 | 12 | https://www.amazon.de/Donau-Elektronik-GMBH-Original-Kupfer/dp/B01BI1G88C/ref=sr_1_6?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=kabel+set+0%2C14&qid=1565690819&s=gateway&sr=8-6 | Amazon
Box | 5 | 1 | 5 | ?
Schaumstoff | 5 | 1 | 5 | ?
Spring Set (multiple ones) | 10 | 1 | 10 | https://www.amazon.de/McDrill-Druckfedern-246-teilig/dp/B00GN3BJT4/ref=sr_1_6?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=feder+set&qid=1565690842&s=gateway&sr=8-6
XY-Stage | 1.8 | 1 | 1.8 | https://de.aliexpress.com/i/32971586710.html?spm=a2g0x.12057483.0.0.4edd2c7fJ3u0RP | Aliexpress | Yes | BD
Filter-Switch | 0.36 | 1 | 0.36 | https://de.aliexpress.com/item/32970180400.html?spm=a2g0x.12057483.0.0.4e59766e5DCcNj | Aliexpress | Yes | BD
Samples |  | 1 | 0
3D printing material | 20 | 1 | 20 | https://www.amazon.de/JANBEX-Filament-Drucker-Vakuumverpackung-Schwarz/dp/B078SGFV3C/ref=sr_1_1_sspa?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=pla+1%2C75+filament+schwarz&qid=1565966787&refinements=p_72%3A419117031&rnid=419116031&s=computers&sr=1-1-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUFPN0Q2VERVQlczU1QmZW5jcnlwdGVkSWQ9QTA0MzQ3MzcxVlNMR0M5SUpSVVE1JmVuY3J5cHRlZEFkSWQ9QTA0OTY3NzJVQlNLQTUxUFhPTTMmd2lkZ2V0TmFtZT1zcF9hdGYmYWN0aW9uPWNsaWNrUmVkaXJlY3QmZG9Ob3RMb2dDbGljaz10cnVl | Amazon
0
Electronics/Programming |  |  | 0
Raspi 4 | 45 | 1 | 45 | https://www.reichelt.de/raspberry-pi-4-b-4x-1-5-ghz-2-gb-ram-wlan-bt-rasp-pi-4-b-2gb-p259919.html?PROVID=2788&gclid=Cj0KCQjwv8nqBRDGARIsAHfR9wDfSTnmSNyUOfEQFSt3AH1NsNxiCz0buRYcON7xUyqIMCWoCNkDb1AaAl7kEALw_wcB&&r=1 | Reichelt
5V Power Supply, 4A, MicroUSB | 9 | 1 | 9 | https://www.reichelt.de/raspberry-pi-netzteil-5-1-v-3-0-a-usb-type-c-eu-stecker-s-rpi-ps-15w-bk-eu-p260010.html?&trstct=lsbght_sldr::259919 | Reichelt
Raspberry Pi Display 7" | 70 | 1 | 70 | https://www.amazon.de/Raspberry-Pi-7-Inch-Screen-Display/dp/B014WKCFR4/ref=sr_1_fkmrnull_3?__mk_de_DE=ÅMÅŽÕÑ&keywords=raspi+7"+tft&qid=1555581857&s=gateway&sr=8-3-fkmrnull | Amazon
Case for 7inch TFT+Raspi | 15 | 1 | 15 | https://www.amazon.de/Raspberry-Offizielles-Touchscreen-Display-Fall-Transparent/dp/B07G236GWJ/ref=sr_1_7?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=case+raspberry+pi+7+inch&qid=1565690974&s=gateway&sr=8-7 | Amazon
SD-Card | 12 | 1 | 12 | https://www.amazon.de/SanDisk-SDSQUAR-064G-GN6MA-microSDXC-Speicherkarte-Adapter/dp/B073JYVKNX/ref=sr_1_2?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=sd+card+64+gb&qid=1565691023&s=computers&sr=1-2 | Amazon
Keyboard | 25 | 1 | 25 | https://www.amazon.de/Logitech-Wireless-Tastatur-deutsches-Tastaturlayout/dp/B00VHHWOU4/ref=sr_1_4?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=logitech+tastatur+trackpad&qid=1565691047&s=computers&sr=1-4 | Amazon
Raspi Connection Head | 3 | 1 | 3 | https://www.amazon.de/Adafruit-Stacking-Header-Pi-ADA1979/dp/B013013XIQ/ref=sr_1_7?crid=3FC8766SNZWTV&keywords=raspberry+pi+3+b%2B+pin+header&qid=1565695288&s=ce-de&sprefix=rasp%2Celectronics%2C183&sr=1-7 | Amazon
Filterset for 450nm exc + 510nm emission (gfp?) |  |  | 0 | ??? | COMAR
Usb->Micro USB (e. G. Arduino/esp32 flashing) | 8.99 | 1 | 8.99 | https://www.amazon.de/Gritin-Datenkabel-Geflochtene-Robust-Daten%C3%BCbertragung-Grau/dp/B07CJJHVKX/ref=sr_1_3?keywords=usb+c+kabel&qid=1566029225&s=gateway&sr=8-3 | Amazon
SUM: |  |  | 424.8
Overall SUM (One Box): | 735.582 | €
Some stuff
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 8 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0
|  |  | 4 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 32 | 0 | 0 | 64 | 0 | 0 | 0 | 0 | 0
|  |  | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 16 | 0 | 0 | 32 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 2 | 10 | 0 | 2 | 16 | 1 | 0 | 0 | 0 | 1
|  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | 4 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
|  |  | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 8 | 0 | 0 | 16 | 0 | 2 | 0 | 0 | 0
|  |  | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 8 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0
|  |  | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 8 | 0 | 0 | 16 | 0 | 2 | 0 | 0 | 0
|  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 4 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 16 | 0 | 0 | 0 | 1 | 0
|  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0
|  |  | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 8 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0

## Alternative vendors
| Status | Unitprice | Amount | Source (previous ordering) | Shop (previous ordering) | Alternative Source | Shop | Detail
Planoconcave laser lenses | delivered |  |  |  | Comar | https://www.comaroptics.com/components/lenses/concave-lenses/high-index-planoconcave-laser-lenses |  | All lenses needed (focal lengths, comar code): +25(25 PQ 16), +40(40 PQ 25), +50(50 PQ 25 or 50 VQ 25), +100 twice(100 VQ 25 or 100 PQ 25), -50(50 NQ 25), cylindrical +63 (63 YQ 40)
Mikroskop okular 20X | delivered | 65.81 | 1 | https://de.aliexpress.com/item/32965050204.html?spm=a2g0o.productlist.0.0.7aa657eeefLUfu&algo_pvid=cd60fca0-3fa5-4191-9ce9-303815e2afa7&algo_expid=cd60fca0-3fa5-4191-9ce9-303815e2afa7-1&btsid=76036b58-6717-4d1f-a4a0-c3d4bacd0450&ws_ab_test=searchweb0_0,searchweb201602_2,searchweb201603_52 | Aliexpress | https://www.conrad.de/de/p/kern-optics-ozb-a4104-mikroskop-okular-20-x-passend-fuer-marke-mikroskope-kern-1320921.html | Conrad
Mikroskop Objektiv 10x, 0.3NA | delivered | 34.84 | 1 | #VALUE! | Aliexpress | https://www.conrad.de/de/p/kern-optics-obb-a1108-mikroskop-objektiv-10-x-passend-fuer-marke-mikroskope-kern-1320473.html | Conrad
Mikroskop Objektiv 4x, 0.1NA | delivered | 46.45 €x2 = 92.9 | 2 | #VALUE! | Aliexpress | https://www.conrad.de/de/p/kern-optics-obb-a1280-mikroskop-objektiv-4-x-passend-fuer-marke-mikroskope-kern-1320594.html | Conrad
Spiegelmosaik | ok |  | 3 | #VALUE! | Amazon | https://www.rayher.com/de/spiegelmosaik-selbstklebend-14548606 |  | Rayher - 14548606 - Spiegelmosaik, selbstklebend., 3x3cm, SB-Btl 45Stü
Kabel+Jumpers | ok |  | 1 | https://www.amazon.de/ZOORE-120pcs-Multicolored-Female-Breadboard/dp/B07P85V1G3/ref=sr_1_5?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=jumper+male&qid=1565690543&s=industrial&sr=1-5 | Amazon |  |  | 20 cm Steckplatine Jumper Drähte, Buchse auf Buchse (female to female)
Wires | ok |  | 1 | https://www.amazon.de/Donau-Elektronik-GMBH-Original-Kupfer/dp/B01BI1G88C/ref=sr_1_6?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=kabel+set+0%2C14&qid=1565690819&s=gateway&sr=8-6 | Amazon
Screw nuts and washers Set | ok |  | 1 | https://www.amazon.de/Edelstahl-Sechskopf-Knopf-Schrauben-Unterlegscheiben-Sortiment-Aufbewahrung/dp/B073SS7D8J/ref=sr_1_fkmr0_1?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=zylinderkopfschrauben+set+galvanisiert&qid=1565007371&s=diy&sr=1-1-fkmr0 | Amazon
Box |  |  | 1 | https://www.online-werkzeughandel.de/diverses/4/kunststoffkoffer-grau-b-395xh-295xt-106mm-m-schaumstoffeinlage-pp_12089_8276 | Werkzeughandel
3D printing material | delivered | 19.95 | 1 | https://www.reichelt.de/pla-filament-blau-1-75-mm-750-g-pla-rec-1-75-bl-p157556.html?&trstct=pos_22 | Reichelt |  |  | PLA Filament - blau - 1,75 mm - 750 g
3D printing material | delivered | 19.95 | 1 | https://www.reichelt.de/pla-filament-orange-1-75-mm-750-g-pla-rec-1-75-or-p157560.html?&trstct=pos_10 | Reichelt |  |  | PLA Filament - orange - 1,75 mm - 750 g
Raspi 4 | delivered | 37.9 | 1 | https://www.reichelt.de/raspberry-pi-4-b-4x-1-5-ghz-2-gb-ram-wlan-bt-rasp-pi-4-b-2gb-p259919.html?PROVID=2788&gclid=Cj0KCQjwv8nqBRDGARIsAHfR9wDfSTnmSNyUOfEQFSt3AH1NsNxiCz0buRYcON7xUyqIMCWoCNkDb1AaAl7kEALw_wcB&&r=1 | Reichelt
Raspi Kamera Modul | delivered | 29.9 | 2 | https://www.amazon.de/Raspberry-Pi-v2-1-1080P-Kamera-Modul/dp/B01ER2SMHY/ref=sr_1_4?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&crid=1LUZK9XHFS5CX&keywords=raspberry+pi+camera+v2.1&qid=1565008837&s=gateway&sprefix=raspberry+pi+camera+%2Caps%2C163&sr=8-4 | Amazon | https://www.reichelt.de/raspberry-pi-kamera-8mp-ir-v2-imx219pq-rasp-can-2-p170857.html?&trstct=pos_2 | Reichelt
Raspi Kamera Flexkabel | delivered |  | 2 | https://www.amazon.de/gp/product/B075JN61S7/ref=ox_sc_act_title_2?smid=A1X7QLRQH87QA3&psc=1 | Amazon | https://www.az-delivery.de/collections/raspberry-pi-kamera-zubehor/products/100cmflexkabel?ls=de | Az Delivery | Az Delivery Ersatz Flexkabel 100 cm für Raspberry Pi Kamera -> 20Stk
Raspberry Pi Display 7" | delivered | 64.5 | 1 | https://www.amazon.de/Raspberry-Pi-7-Inch-Screen-Display/dp/B014WKCFR4/ref=sr_1_fkmrnull_3?__mk_de_DE=ÅMÅŽÕÑ&keywords=raspi+7"+tft&qid=1555581857&s=gateway&sr=8-3-fkmrnull | Amazon | https://www.rasppishop.de/Raspberry-Pi-7-Touchscreen-Display | Rasppishop
Case for 7inch TFT+Raspi | delivered | 17.8 | 1 | https://www.amazon.de/Raspberry-Offizielles-Touchscreen-Display-Fall-Transparent/dp/B07G236GWJ/ref=sr_1_7?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=case+raspberry+pi+7+inch&qid=1565690974&s=gateway&sr=8-7 | Amazon | https://www.reichelt.de/gehaeuse-fuer-raspberry-pi-4-7-touch-display-rpi4-case-lcd7bk-p268976.html?&trstct=pol_57 | Reichelt
5V Power Supply, 4A, MicroUSB | delivered | 8.55 | 1 | https://www.reichelt.de/raspberry-pi-netzteil-5-1-v-3-0-a-usb-type-c-eu-stecker-s-rpi-ps-15w-bk-eu-p260010.html?&trstct=lsbght_sldr::259919 | Reichelt
LG G3 Lens | ok |  | 1 | https://www.amazon.de/BisLinks%C2%AE-Facing-Kamera-Ersatz-Repair/dp/B01M9K9RVN/ref=sr_1_10?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=lg+g3+camera&qid=1565005739&s=gateway&sr=8-10 | Amazon | couldn't find alternative
Az delivery WLAN WIFI Module | delivered |  | 3 | https://www.amazon.de/AZDelivery-NodeMCU-Development-Nachfolgermodell-ESP8266/dp/B074RGW2VQ/ref=sr_1_3?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=esp32&qid=1565008313&s=gateway&sr=8-3 | Amazon | https://www.az-delivery.de/products/esp32-developmentboard?ls=de | Az Delivery | ESP-32 Dev kit
Laser source | ordered |  | 1 | https://www.laserlands.net/11040037.html | Laserland |  |  | 5mW 450nm Blue Laser Pointer Pen
64 LED matrix panel (Neopixel 8x8) | delivered |  | 1 | https://www.amazon.de/AZDelivery-Matrix-CJMCU-8-Arduino-Raspberry/dp/B078HYP681/ref=sr_1_2?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=neopixel+matrix&qid=1565008576&s=gateway&sr=8-2 | Amazon | https://www.az-delivery.de/products/u-64-led-panel?ls=de | Az Delivery | https://www.amazon.de/dp/B07ML3PTYS/ref=pe_3044161_185740101_TE_i tem we are now switching to those
Hi-Power LED -UV | delivered |  | 3 | https://www.ebay.de/itm/Hi-Power-LED-1W-3W-UV-STAR-Ultraviolet-/131326525056?var= | Ebay | https://avonec.de/3w-high-power-led/3w-high-power-led-10000k-20000k-kaltweiss-46-47-48.html | Avonec | 3W High Power LED 390nm - 410nm UV- A Schwarzlicht
Transistor | delivered |  | 1 | https://www.ebay.de/itm/BD809-Transistor-npn-80V-10A-90W-TO220/360661360188?hash=item53f9179e3c:g:ssEAAOSw-fNaqt1l | Ebay | https://www.reichelt.de/index.html?ACTION=446&LA=446&q=bd809%20transistor%20npn%2080v%2010a%2090w%20to220 | Reichelt | BD809 Transistor npn 80V 10A 90W TO220
Step Motor | delivered |  | 2 | https://www.amazon.de/Elegoo-Stepper-Schrittmotor-28BYJ-48-Treiberplatine/dp/B01MEGIHLF/ref=sr_1_1_sspa?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=stepper+arduino&qid=1565008205&s=gateway&sr=8-1-spons&psc=1 | Amazon | https://www.reichelt.de/entwicklerboards-schrittmotor-inkl-steuerung-uln2003-debo-moto1-p192146.html | Reichelt | DEBO MOTO1 Entwicklerboards - Schrittmotor inkl. Steuerung, ULN2003
Screw - M3x8, DIN912 | delivered |  | 160 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X8/00843%20%208.sku/de/DE/EUR/ | Würth |  |  | 4 per cube
Screw - M3x12, DIN912 | delivered |  | 160 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X12/00843%20%2012.sku/de/DE/EUR/ | Würth |  |  | 4 per cube
Screw - M3x18, DIN912 | ok |  | 4 | https://eshop.wuerth.de/Zylinderschraube-mit-Innensechskant-SHR-ZYL-ISO4762-88-IS25-A2K-M3X18/00843%20%2018.sku/de/DE/EUR/ | Würth |  |  | just 4 of them pre box,
Magnet | delivered | 0.36 | 160 | https://www.ebay.de/itm/216-Neodym-Kugelmagnete-D5mm-D7mm-D10mm-GOLD-SILVER-BLACK-NICKEL-NdFeB/372719170845?hash=item56c7cb351d:m:mj8zDp5AN1PxzUDiyJu1Rsg | Ebay | https://www.magnetladen.de/kugelmagnet-5-mm-n42-nickel/ | Magnetladen | Neodym-Kugelmagnete 5 mm
Hexagon socket set screw with truncated cone | ok |  | 160 | https://eshop.wuerth.de/Gewindestift-Innensechskant-und-Kegelstumpf-STI-STMPF-ISO4026-45H-IS15-A2K-M3X25/025503%2025.sku/WuerthGroup-Wuerth.cgid/de/DE/EUR/?VisibleSearchTerm=STI-STMPF-ISO4026-45H-IS1%2C5-%28A2K%29-M3X25&CampaignName=SR001 | Würth
SD-Card | ok |  | 1 | https://www.amazon.de/SanDisk-SDSQUAR-064G-GN6MA-microSDXC-Speicherkarte-Adapter/dp/B073JYVKNX/ref=sr_1_2?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=sd+card+64+gb&qid=1565691023&s=computers&sr=1-2 | Amazon
Keyboard | delivered |  | 1 | https://www.amazon.de/Logitech-Wireless-Tastatur-deutsches-Tastaturlayout/dp/B00VHHWOU4/ref=sr_1_4?__mk_de_DE=%C3%85M%C3%85%C5%BD%C3%95%C3%91&keywords=logitech+tastatur+trackpad&qid=1565691047&s=computers&sr=1-4 | Amazon | https://www.reichelt.de/funk-tastatur-usb-schwarz-touchpad-logitech-k400-p162726.html?&trstct=pos_0 | Reichelt
Filterset for 450nm exc + 510nm emission (gfp?) | Comar filters discontinued |  |  |  | Leefilters |  |  |  | http://www.leefilters.com/lighting/colour-details.html#010&filter=cf
Usb->Micro USB (e. G. Arduino/esp32 flashing) | delivered |  | 3 | https://www.amazon.de/Gritin-Datenkabel-Geflochtene-Robust-Daten%C3%BCbertragung-Grau/dp/B07CJJHVKX/ref=sr_1_3?keywords=usb+c+kabel&qid=1566029225&s=gateway&sr=8-3 | Amazon |  |  | micro USB |  | BUY THIS: HUB (https://www.reichelt.de/usb-3-0-4-port-hub-mit-schalter-und-netzteil-usb3-4hub-sw-p133049.html?&trstct=pol_10) and THREE or four CABLES (https://www.reichelt.de/usb-2-0-kabel-a-stecker-auf-micro-b-stecker-1-5-m-delock-83899-p164861.html?&trstct=pos_9)(USB-A to micro-USB)
LED-Taschenlampe (flashlight) | delivered |  |  | https://www.pollin.de/p/led-taschenlampe-alu-5-w-cree-led-3xmicro-schwarz-b-ware-535448 | Pollin | https://www.reichelt.de/led-taschenlampe-future-t300f-160-lm-schwarz-2x-c-baby-ans-1600-0059-p202608.html?&trstct=pol_2 | Reichelt
beamsplitter 20mm | delivered |  | 1 | https://optikbaukasten.de/ | Optikbausten |  |  | Artikel: 2137
metal plates | ok |  | 2
iphone lens | ok |  | 1
smartphone |  |  | 1
Batteries for laser pointer